## Buildings
EEDSM 2014/15 |  |  | EBL Buildings
Extended Baseline (EBL) for ALL municipal infrastructure |  |  |  |  | Section: Buildings
Name of Municipality: |  |  |  |  | Total electricity consumption (kWh/a): |  |  | 0 |  | Ratio Saving / Consumption (%) |  | #DIV/0!
Evaluation period |  |  |  |  | Total electricity saving potential (kWh/a): |  |  | 0 |  | Average consumption (kWh/a/m2): |  | #DIV/0!
Project Manager: |  |  |  |  | Total net floor area /m2): |  |  | 0 |  | Average saving potential (kWh/a/m2) |  | #DIV/0!
Date: |  | 01.01.2014-31.12.2014 |  |  | Total spending for electricity (ZAR/a) |  |  | 0 |  | Average spending (ZAR/a/m2) |  | #DIV/0!
[5 empty] | Total saving potential (ZAR / a) |  |  | 0 |  | Average saving potential (ZAR/a/m2) |  | #DIV/0!
No | Name of infrastructure | Address | Nature/purpose of infrastructure | Municipal unit in charge | Contact person (responsible for infrastructure object and related interventions) | phone no | email address | Year of construction / installation | Size of usable Area (m2) | main contributors to electrity consumption | Overall electricity consumption per annum (in kWh) | estimated SAVING potential with optimized and financially feasible technology (kWh) | technology installed/exchanged that would be necessary to reach estimated saving potential | expected development of electricity consumption | estimated mid-term security of use of infrastructure
B 0 (example) | Town Hall | 26, Mandela Road; Port Elisabeth | Main building of municipal administratio | Department of Property Management | Ms. Nediswa Mpolo | 09 87654321 | nediswa.mpolo@municipality.gov.za | 1974 | 800 | lights, HVAC, fridge | 200 | 50 | replacing CFL with LED bulbs, installing occpancy sensors for HVAC | increase in use of computers over the next 5 years | Building most likely to be used for the next 20 years.
B01
B02
B03
B04
B05
B06
B07
B08
B09
B10
B11
B12
B13
B14
B15
B16
B17
B18
B19
B20
B21
B22
B23
B24
B25
B26
B27
B28
B29
B30
B31
B32
B33
B34
B35
B36
B37
B38
B39
B40
B41
B42
B43
B44
B45
B46
B47
B48
B49
B50
B51
B52
B53
B54
B55
B56
B57
B58
B59*
TOTAL | [8 empty] | 0 |  | 0 | 0
*please add further lines if necessary!

## Traffic lights
EEDSM 2014/15 |  |  | EBL Traffic Lights
Extended Baseline (EBL) for ALL municipal infrastructure |  |  |  |  | Section: Traffic Lights
Name of Municipality: |  | 0 |  |  | Total electricity consumption (kWh/a): |  |  | 0 |  | Ratio saving potential / consumption |  | #DIV/0!
Evalulation period |  |  |  |  | Total electricity saving potential (kWh/a): |  |  | 0 |  | Average consumption (kWh/a/unit): |  | #DIV/0!
Project Manager: |  |  |  |  | Total no. of units: |  |  | 0 |  | Average saving potential (kWh/a/unit) |  | #DIV/0!
Date: |  |  |  |  | Total spending for electricity (ZAR/a) |  |  | 0 |  | Average spending (ZAR/a/unit) |  | #DIV/0!
[5 empty] | Total saving potential (ZAR / a) |  |  | 0 |  | Average saving potential (ZAR/a/unit) |  | #DIV/0!
No. | Name of infrastructure | Area | Municipal unit in charge | Contact person (responsible for infrastructure object and related interventions) | Phone no. | Email address | Year of construction / installation | No. of units | Overall electricity consumption (kWh/a) | Estimated saving potential with optimized technology (kWh/a) | Technology installed/exchanged that would be necessary to reach estimated saving potential | Estimated mid-term security of use of infrastructure /further comments
T 0 (example) | Traffic lights (halogen) | Main Road & Roberts Road | Traffic Department | Ms Nediswa Mpolo | 09 87654321 | nediswa.mpolo@municipality.gov.za | 1974 | 498 | 200 | 150 | LED lights | no plans for significant changes
T01
T02
T03
T04
T05
T06
T07
T08
T09
T10
T11
T12
T13
T14
T15
T16
T17
T18
T19
T20
T21
T22
T23
T24
T25
T26
T27
T28
T29
T30
T31
T32
T33
T34
T35
T36
T37
T38
T39
T40
T41
T42
T43
T44
T45
T46
T47
T48
T49
T50
T51
T52
T53
T54
T55
T56
T57
T58
T59*
TOTAL | [7 empty] | 0 | 0 | 0
*please add further lines if necessary!

## Street lights
EEDSM 2014/15 |  |  | EBL Street lighting
Extended Baseline (EBL) for ALL municipal infrastructure |  |  |  |  | Section: Street Lights
Name of Municipality: |  | 0 |  |  | Total electricity consumption (kWh/a): |  |  | 0 |  | Ratio saving potential / consumption (%) |  | #DIV/0!
Evaluation period: |  |  |  |  | Total electricity saving potential (kWh/a): |  |  | 0 |  | Average consumption (kWh/a/unit): |  | #DIV/0!
Project Manager: |  |  |  |  | Total no. of units: |  |  | 0 |  | Average saving potential (kWh/a/unit) |  | #DIV/0!
Date: |  |  |  |  | Total spending for electricity (ZAR/a) |  |  | 0 |  | Average spending (ZAR/a/unit) |  | #DIV/0!
[5 empty] | Total saving potential (ZAR / a) |  |  | 0 |  | Average saving potential (ZAR/a/unit) |  | #DIV/0!
No | Name of infrastructure | Area | Municipal unit in charge | Contact person (responsible for infrastructure object and related interventions) | Phone no | Email address | Year of construction / installation | Nr. of units | Overall electricity consumption per annum (in kWh/a) | Estimated saving potential with optimized technology (in kWh/a) | Technology installed/exchanged that would be necessary to reach estimated saving potential | Estimated mid-term security of use of infrastructure
S 0 (example) | HCL High Masts | Lemufo Township | Traffic Department | Mrs. Nediswa Mpolo | 09 87654321 | nediswa.mpolo@municipality.gov.za | 1974 | 498 | 200 | 100 | LED High Masts | no major reconstructions of area planned.
S01
S02
S03
S04
S05
S06
S07
S08
S09
S10
S11
S12
S13
S14
S15
S16
S17
S18
S19
S20
S21
S22
S23
S24
S25
S26
S27
S28
S29
S30
S31
S32
S33
S34
S35
S36
S37
S38
S39
S40
S41
S42
S43
S44
S45
S46
S47
S48
S49
S50
S51
S52
S53
S54
S55
S56
S57
S58
S59*
TOTAL | [7 empty] | 0 | 0 | 0 |  | 0
*please add further lines if necessary!

## High Masts
EEDSM 2014/15 |  |  | EBL Street lighting
Extended Baseline (EBL) for ALL municipal infrastructure |  |  |  |  | Section: High Masts
Name of Municipality: |  | 0 |  |  | Total electricity consumption (kWh/a): |  |  | 0 |  | Ratio saving potential / consumption (%) |  | #DIV/0!
Evaluation period: |  |  |  |  | Total electricity saving potential (kWh/a): |  |  | 0 |  | Average consumption (kWh/a/unit): |  | #DIV/0!
Project Manager: |  |  |  |  | Total no. of units: |  |  | 0 |  | Average saving potential (kWh/a/unit) |  | #DIV/0!
Date: |  |  |  |  | Total spending for electricity (ZAR/a) |  |  | 0 |  | Average spending (ZAR/a/unit) |  | #DIV/0!
[5 empty] | Total saving potential (ZAR / a) |  |  | 0 |  | Average saving potential (ZAR/a/unit) |  | #DIV/0!
No | Name of infrastructure | Area | Municipal unit in charge | Contact person (responsible for infrastructure object and related interventions) | Phone no | Email address | Year of construction / installation | Nr. of units | Overall electricity consumption per annum (in kWh/a) | Estimated saving potential with optimized technology (in kWh/a) | Technology installed/exchanged that would be necessary to reach estimated saving potential | Estimated mid-term security of use of infrastructure
S 0 (example) | Street lights (Mercury-Vapor) | Elardus Park East | Traffic Department | Mrs. Nediswa Mpolo | 09 87654321 | nediswa.mpolo@municipality.gov.za | 1974 | 498 | 200 | 100 | LED Street lights | no major reconstructions of area planned.
H01
H02
H03
H04
H05
H06
H07
H08
H09
H10
H11
H12
H13
H14
H15
H16
H17
H18
H19
H20
H21
H22
H23
H24
H25
H26
H27
H28
H29
H30
H31
H32
H33
H34
H35
H36
H37
H38
H39
H40
H41
H42
H43
H44
H45
H46
H47
H48
H49
H50
H51
H52
H53
H54
H55
H56
H57
H58
H59
TOTAL | [7 empty] | 0 | 0 | 0
*please add further lines if necessary!

## Water service plants
EEDSM 2014/15 |  |  | EBL Water Service Infrastructure
Extended Baseline (EBL) for ALL municipal infrastructure |  |  |  |  | Section: Water service Infrastructure
Name of Municipality: |  | 0 |  |  | Total capacity installed (kW): |  |  |  | 0
Evaluation period: |  |  |  |  | Total electricity saving potential (kW): |  |  |  | 0
Project Manager:
Date: |  |  |  |  | Total electricity consumption (kWh/a): |  |  | 0 |  | Ratio Saving / Consumption (%) |  | #DIV/0!
[5 empty] | Total electricity saving potential (kWh/a): |  |  | 59 |  | Average consumption (kWh/ML): |  | #DIV/0!
[5 empty] | Total amount of water being pumped (ML/a): |  |  | 0 |  | Average saving potential (kWh/ML) |  | #DIV/0!
[5 empty] | Total spending for electricity (ZAR/a) |  |  | 0 |  | Average spending (ZAR/ML) |  | #DIV/0!
[5 empty] | Total saving potential (ZAR/a) |  |  | 36.8514 |  | Average saving potential (ZAR/ML) |  | #DIV/0!
No | Name of infrastructure | Address | Nature/purpose of infrastructure | Municipal unit being in charge | Contact person (responsible for infrastructure object and related interventions) | Phone no | Email address | Year of construction / installation | Main contributors to electrity consumption | Estimate of quantity of water being pumped (ML/a) | Overall capacity installed (kW) | Estimated saving potential with optimized technology equpiment (kW) | Overall electricity consumption per annum (in kWh/a) | Estimated saving potential with optimized technology (in kWh/a) | Technology installed/exchanged that would be necessary to reach estimated saving potential | Expected development of electric consumption with current technology in place | Estimated mid-term security of use of infrastructure
W0 (example) | Lusaka Water Treatment Plant | 26, Mandela Road; Port Elisabeth | serves about 19 140 households | Department of Water Management | Mrs. Nediswa Mpolo | 09 87654321 | nediswa.mpolo@municipality.gov.za | 1974 | 2 raw water booster pumps driven by 132 kW Alstom Motors; 4x15kW endsuction booster pumps, 2 filter backwash centrifugal pumps (11kW motor), 2 compressors (7.5kW, 2.2 kW) | 345 | 355.7 | 30 | 2000 | 200 | Conversion to premium efficiency motors Power Factor correction, | increasing no. of households in area --> increase of capacity used | No plans to end use of facility
W01 | [13 empty] | 1
W02 | [13 empty] | 1
W03 | [13 empty] | 1
W04 | [13 empty] | 1
W05 | [13 empty] | 1
W06 | [13 empty] | 1
W07 | [13 empty] | 1
W08 | [13 empty] | 1
W09 | [13 empty] | 1
W10 | [13 empty] | 1
W11 | [13 empty] | 1
W12 | [13 empty] | 1
W13 | [13 empty] | 1
W14 | [13 empty] | 1
W15 | [13 empty] | 1
W16 | [13 empty] | 1
W17 | [13 empty] | 1
W18 | [13 empty] | 1
W19 | [13 empty] | 1
W20 | [13 empty] | 1
W21 | [13 empty] | 1
W22 | [13 empty] | 1
W23 | [13 empty] | 1
W24 | [13 empty] | 1
W25 | [13 empty] | 1
W26 | [13 empty] | 1
W27 | [13 empty] | 1
W28 | [13 empty] | 1
W29 | [13 empty] | 1
W30 | [13 empty] | 1
W31 | [13 empty] | 1
W32 | [13 empty] | 1
W33 | [13 empty] | 1
W34 | [13 empty] | 1
W35 | [13 empty] | 1
W36 | [13 empty] | 1
W37 | [13 empty] | 1
W38 | [13 empty] | 1
W39 | [13 empty] | 1
W40 | [13 empty] | 1
W41 | [13 empty] | 1
W42 | [13 empty] | 1
W43 | [13 empty] | 1
W44 | [13 empty] | 1
W45 | [13 empty] | 1
W46 | [13 empty] | 1
W47 | [13 empty] | 1
W48 | [13 empty] | 1
W49 | [13 empty] | 1
W50 | [13 empty] | 1
W51 | [13 empty] | 1
W52 | [13 empty] | 1
W53 | [13 empty] | 1
W54 | [13 empty] | 1
W55 | [13 empty] | 1
W56 | [13 empty] | 1
W57 | [13 empty] | 1
W58 | [13 empty] | 1
W59 | [13 empty] | 1
TOTAL | [9 empty] | 0 | 0 | 0 | 0 | 59
Note on K14: Adelheid: Macht das so Sinn???

## EBL Summary
Extended Baseline | Evaluation Summary
EEDSM 2014/15 |  |  | 0
Evaluation period: | 01.01.2014-31.12.2014
Buildings
Total electricity consumption (kWh/a): |  |  | 0 | Ratio Saving / Consumption (%) | #DIV/0!
Total electricity saving potential (kWh/a): |  |  | 0 | Average consumption (kWh/a/m2): | #DIV/0!
Total minimized electricity consumption (kWh/a) |  |  | 0 | Average saving potential (kWh/a/m2) | #DIV/0!
Total net floor area /m2): |  |  | 0 | Average spending (ZAR/a/m2) | #DIV/0!
Total spending for electricity (ZAR/a) |  |  | 0 | Average saving potential (ZAR/a/m2) | #DIV/0!
Total saving potential (ZAR / a) |  |  | 0
Traffic Lights
Total electricity consumption (kWh/a): |  |  | 0 | Ratio saving potential / consumption | #DIV/0!
Total electricity saving potential (kWh/a): |  |  | 0 | Average consumption (kWh/a/unit): | #DIV/0!
Total minimized electricity consumption (kWh/a) |  |  | 0 | Average saving potential (kWh/a/unit) | #DIV/0!
Total no. of units: |  |  | 0 | Average spending (ZAR/a/unit) | #DIV/0!
Total spending for electricity (ZAR/a) |  |  | 0 | Average saving potential (ZAR/a/unit) | #DIV/0!
Total saving potential (ZAR / a) |  |  | 0
Street Lights
Total electricity consumption (kWh/a): |  |  | 0 | Ratio saving potential / consumption (%) | #DIV/0!
Total electricity saving potential (kWh/a): |  |  | 0 | Average consumption (kWh/a/unit): | #DIV/0!
Total minimized electricity consumption (kWh/a) |  |  | 0 | Average saving potential (kWh/a/unit) | #DIV/0!
Total no. of units: |  |  | 0 | Average spending (ZAR/a/unit) | #DIV/0!
Total spending for electricity (ZAR/a) |  |  | 0 | Average saving potential (ZAR/a/unit) | #DIV/0!
Total saving potential (ZAR / a) |  |  | 0
High Masts
Total electricity consumption (kWh/a): |  |  | 0 | Ratio saving potential / consumption (%) | #DIV/0!
Total electricity saving potential (kWh/a): |  |  | 0 | Average consumption (kWh/a/unit): | #DIV/0!
Total minimized electricity consumption (kWh/a) |  |  | 0 | Average saving potential (kWh/a/unit) | #DIV/0!
Total no. of units: |  |  | 0 | Average spending (ZAR/a/unit) | #DIV/0!
Total spending for electricity (ZAR/a) |  |  | 0 | Average saving potential (ZAR/a/unit) | #DIV/0!
Total saving potential (ZAR / a) |  |  | 0
Water service Infrastructure
Total capacity installed (kW): |  |  | 0
Total electricity saving potential (kW): |  |  | 0
Total electricity consumption (kWh/a): |  |  | 0 | Ratio Saving / Consumption (%) | #DIV/0!
Total electricity saving potential (kWh/a): |  |  | 59 | Average consumption (kWh/ML): | #DIV/0!
Total minimized electricity consumption (kWh/a) |  |  | -59 | Average saving potential (kWh/ML) | #DIV/0!
Total amount of water being pumped (ML/a): |  |  | 0 | Average spending (ZAR/ML) | #DIV/0!
Total spending for electricity (ZAR/a) |  |  | 0 | Average saving potential (ZAR/ML) | #DIV/0!
Total saving potential (ZAR/a) |  |  | 36.8514
Total Consumption (kWh/a) | 2012 | 2013 | 2014
Buildings | 14800 | 15000 | 0
Traffic Lights | 2000 | 1500 | 0
Street Lights | 7000 | 4000 | 0
High Masts | 6000 | 6300 | 0
Water service Infrastructure | 18000 | 17000 | 0
Total | 47800 | 43800 | 0
Development of total energy consumption 2012-2014 (kWh)